Arizona Department of Environmental Quality

Drinking Water Synthetic Organic Chemical Analysis Reporting Form

*** Entry Point to the Distribution System (EPDS) Only ***

PWS ID#: AZ04 _______________			PWS Name:  _______________________________________

____________	_______:_______ (24 hr clock)      	(_____) ___________________________________________

Sample Date	Sample Time				Owner/Contact Person

(_____)_______________________			(_____)____________________________________________

Owner/Contact Fax Number				Owner/Contact Phone Number

Sample Type:

Compliance Monitoring

Sample Collection Point:

EPDS # _________________

___________________________

Sampling Site ID

SYNTHETIC ORGANIC CHEMICAL ANALYSIS

(((To be completed by laboratory personnel(((

| Analysis Method |  | MCL | Reporting Limit | Contaminant Name | Cont. Code | Analysis Run Date |  | Result | Exceeds MCL | Exceeds Reporting Limit |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 0.07 | .0001 | 2,4-D | 2105 |  |  |  |  |  |
|  |  | 0.05 | .0002 | 2,4,5-TP (Silvex) | 2110 |  |  |  |  |  |
|  |  | 0.003 | .001 | Toxaphene | 2020 |  |  |  |  |  |
|  |  | 0.002 | .0002 | Alachlor (Lasso) | 2051 |  |  |  |  |  |
|  |  | 0.003 | .0001 | Atrazine | 2050 |  |  |  |  |  |
|  |  | 0.04 | .0009 | Carbofuran | 2046 |  |  |  |  |  |
|  |  | 0.001 | .00004 | Pentachlorophenol | 2326 |  |  |  |  |  |
|  |  | 0.002 | .0002 | Chlorodane | 2959 |  |  |  |  |  |
|  |  | 0.0002 | .00002 | Dibromochloropropane (DBCP) | 2931 |  |  |  |  |  |
|  |  | 0.00005 | .00001 | Ethylene Dibromide (EDB) | 2946 |  |  |  |  |  |
|  |  | 0.0004 | .00004 | Heptachlor | 2065 |  |  |  |  |  |
|  |  | 0.0002 | .00002 | Heptachlor epoxide | 2067 |  |  |  |  |  |
|  |  | 0.0002 | .00002 | Lindane | 2010 |  |  |  |  |  |
|  |  | 0.0002 | .00002 | Benzo(a)pyrene | 2306 |  |  |  |  |  |
|  |  | 0.2 | .001 | Dalapon | 2031 |  |  |  |  |  |
|  |  | 0.006 | .0006 | Di(2-ethylhexyl)phthalate | 2039 |  |  |  |  |  |
|  |  | 0.4 | .0006 | Di(2-ethylhexyl)adipate | 2035 |  |  |  |  |  |
|  |  | 0.007 | .0002 | Dinoseb | 2041 |  |  |  |  |  |

Specimen Number: _____________________

DWAR-3: Revised 1/2010

Arizona Department of Environmental Quality

Drinking Water Synthetic Organic Chemical Analysis Reporting Form

*** Entry Point to the Distribution System (EPDS) Only ***

PWS ID#: AZ04 _______________			PWS Name:  _______________________________________

Sample Collection Point:

EPDS # ___________________

_____________________________

Sampling Site ID

##### SYNTHETIC ORGANIC CHEMICAL ANALYSIS

(((To be completed by laboratory personnel(((

| Analysis Method |  | MCL | Reporting Limit | Contaminant Name | Cont. Code | Analysis Run Date |  | Result | Exceeds MCL | Exceeds Reporting Limit |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 3x10-8 | 5x10-9 | 2,3,7,8-TCDD (Dioxin) | 2063 |  |  |  |  |  |
|  |  | 0.02 | .0004 | Diquat | 2032 |  |  |  |  |  |
|  |  | 0.1 | .009 | Endothall | 2033 |  |  |  |  |  |
|  |  | 0.002 | .00001 | Endrin | 2005 |  |  |  |  |  |
|  |  | 0.7 | .006 | Glyphosate | 2034 |  |  |  |  |  |
|  |  | 0.001 | .0001 | Hexachlorobenzene | 2274 |  |  |  |  |  |
|  |  | 0.05 | .0001 | Hexachlorocyclopentadiene | 2042 |  |  |  |  |  |
|  |  | 0.2 | .002 | Oxamyl | 2036 |  |  |  |  |  |
|  |  | 0.5 | .0001 | Picloram | 2040 |  |  |  |  |  |
|  |  | 0.004 | .00007 | Simazine | 2037 |  |  |  |  |  |
|  |  | 0.04 | .0001 | Methoxychlor | 2015 |  |  |  |  |  |
|  |  | 0.0005 | .0001 | PCB:Polychlorinated Biphenyls | 2383 |  |  |  |  |  |
|  |  | 0.001 | .00004 | Pentachlorophenol | 2326 |  |  |  |  |  |

#### Laboratory Information

(((To be completed by laboratory personnel(((

Lab ID Number: ________________________

Specimen Number: _____________________

Name: __________________________________________________________________________________

Printed Name and Phone Number of Lab Contact: _______________________________________________

Authorized Signature: ______________________________________________________________________

Date Public Water System Notified: ___________________________________________________________

Comments: ______________________________________________________________________________

All units must be reported in milligrams per liter (mg/L)

DWAR-3: Revised 1/2010

Instructions for Using the Arizona Department of Environmental Quality

Synthetic Organic Chemical Analysis Reporting Form

Revised 2010

SYSTEM ID:  This a unique 5 digit Public Water Identification (PWSID) number assigned to each public water system by ADEQ.

SYSTEM NAME:  This should be the legal name which the water system has registered with the Arizona Corporation Commission (ACC).  If the system is a municipality or other non ACC regulated entity, this should reflect the legal structure, such as XYZ Water Improvement District.  Always notify the Department in writing of any name or ownership change.  All water system names need to be listed.

SAMPLE DATE:  The date the specimen was collected in mm/dd/yy format.

SAMPLE TIME:  The time the specimen was collected in hh:mm format (24 hr clock time).

OWNER/CONTACT PERSON NAME:  The first and last name of the owner or owner’s representative (contact person), who should be contacted with sample results.  .

OWNER/CONTACT PHONE#:  The daytime phone number of the owner, or owner’s representative (contact person), who should be contacted with sample results.  All phone numbers need to be listed.

SAMPLE TYPE:  State the compliance reason for specimen collection.  Only the relevant sample types for each contaminant group are provided on the ADEQ forms.  Mark only one sample type for form.

EPDS ID:  The location within the water system where the sample was taken and its assigned identifying number.  Entry Point to the Distribution System (EPDS) location – use this location for inorganic and organic chemical samples.  Each sample is taken at the EPDS, which means the point at which water is discharged into the distribution system from the well, storage tank, pressure tank, or treatment facility.  It is after treatment but prior to the first service connection.  The three digit number is assigned by ADEQ.  All EPDS numbers need to be listed.

SAMPLING SITE ID:  This is for your convenience so that you may put in an address or other location.  This does not need to be completed.

SPECIMEN NUMBER:  A unique 15 character (max) alphanumeric code that identifies a particular sample used to test one contaminant or one category of contaminants.  If reporting on separate reporting forms, a different (unique) number is required for each contaminant group and for each report.

FOR MCL EXCEEDENCE ONLY/ORIGINAL VIOLATING SPECIMEN NUMBER:  This is the unique 15 character (maximum length) alphanumeric code that identified the original specific sample that initiated the repeat/confirmation sampling requirement (See SPECIMEN# above).  For composite sample analysis results that exceed the reporting level and require a confirmation sample, the specimen number of the individual samples comprising the composite sample will be reported as the “Original Violating Specimen number” in this section.

PLEASE MAIL COMPLETED FORM TO:

ARIZONA DEPARTMENT OF ENVIRONMENTAL QUALITY

WATER QUALITY COMPLIANCE DATA UNIT (MC 5415B-1)

1110 W. WASHINGTON ST.

#### PHOENIX, AZ 85007

Fax:  (602) 771-4505

NOTE: These definitions are general in nature.  For specific questions regarding your laboratory submittal, please call (602) 771-4513 or within AZ 1-800-234-5677, ext. 4513.

___________________________________________________________________________________

Copies of this form are available from the ADEQ website at www.azdeq.gov.

Go to http://www.azdeq.gov/function/forms/appswater.html#sdw , scroll down to laboratory reporting forms and click on DWAR-3 Synthetic Organic Chemical Analysis Report.

# Text boxes

# For MCL or Composite Sample Level Exceedance

____________Original Violation Specimen Number

Sample Type:

( Confirmation		( Re-analysis

( Confirmation Composite	( Re-sample

( Confirmation Composite