DRINKING WATER NOTICE

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

System [Name] Failed to Maintain Required Treatment of Viruses

Aviso Este informe contiene información importante acerca de su agua potable. Haga que alguien lo traduzca para usted, o hable con alguien que lo entienda.

From [Time Frame], our water system did not [describe situation - provide chlorine in the water being used from Well 1 due to a malfunctioning chlorine feed pump]. As a result, our water was not disinfected as the Arizona Department of Environmental Quality (ADEQ) requires. Our water system violated a treatment technique standard for maintaining adequate disinfection for water delivered to customers from [Well 1]. As our customers, you have a right to know what happened and what we are doing to correct this situation. After this problem was identified, [state corrective action- we took immediate steps to repair the malfunctioning chlorine pump. The treatment system has been repaired and is now operating properly]

What should I do?

There is nothing you need to do unless you have a compromised immune system, have an infant, or are elderly. These people may have been at increased risk when our system failed to provide adequate disinfection and should seek advice about drinking water from their health care providers. General guidelines on ways to lessen the risk of infection by microbes are available from EPA’s Safe Drinking Water Hotline at (800) 426-4791. If you have specific health concerns, consult your doctor.

You do not need to boil your water or take other corrective actions. If a situation arises where the water is no longer safe to drink, you will be notified within 24 hours. We will announce any emergencies on [Channel … or Radio Station …].

What does this mean?

This is not an emergency. If it had been an emergency, you would have been notified within 24 hours.

Inadequately treated or inadequately protected water may contain disease-causing organisms. These organisms can cause symptoms such as diarrhea, nausea, cramps, and associated headaches. While we have not detected any evidence of contamination or other health threats to our source water, we are committed to restoring the required level of treatment to the water from [Well 1] to eliminate the threat of contamination.

What is being done?

[re-state corrective action- We have replaced the malfunctioning chlorine pump and regular sampling has shown that we are once again providing adequate disinfection of water from Well 1].

When is the system expected to return to compliance?

We [resolved / anticipate resolving] this problem by [Date] by [corrective action].

For more information, please contact [Name] at [Phone number] or [Address].

Please share this information with other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by [Name] Public Water System.

Water System ID#: [ID#]

Date distributed: [Date]