Arizona Department of Environmental Quality

Drinking Water Inorganic Chemical Analysis Reporting Form

*** Entry Point to the Distribution System (EPDS) Only ***

PWS ID#: AZ04 _______________		PWS Name:  _________________________________________

____________	_______:_______ (24 hr clock)  ____________________________________________________

Sample Date	Sample Time			Owner/Contact Person

(_____)_______________________		(_____)______________________________________________

Owner/Contact Fax Number			Owner/Contact Phone Number

Sample Type:

Compliance Monitoring

Sample Collection Point:

EPDS # __________________

___________________________

Sampling Site ID

### INORGANIC CHEMICAL ANALYSIS

(((To be completed by laboratory personnel(((

| Analysis Method |  | MCL | Reporting Limit | Contaminant Name | Cont. Code | Analysis Run Date |  | Result | Exceeds MCL | Exceeds Trigger Limit |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 0.010 | 0.005 | Arsenic | 1005 |  |  |  |  |  |
|  |  | 2 | 1 | Barium | 1010 |  |  |  |  |  |
|  |  | 0.005 | 0.0025 | Cadmium | 1015 |  |  |  |  |  |
|  |  | 0.1 | 0.05 | Chromium | 1020 |  |  |  |  |  |
|  |  | 4 | 0.5 | Fluoride | 1025 |  |  |  |  |  |
|  |  | 0.002 | 0.001 | Mercury | 1035 |  |  |  |  |  |
|  |  | 10 | 2.5 | Nitrate (as N) | 1040 |  |  |  |  | (5 mg/L) |
|  |  | 1 | 0.25 | Nitrite (as N) | 1041 |  |  |  |  | (0.5 mg/L) |
|  |  | 0.05 | 0.025 | Selenium | 1045 |  |  |  |  |  |
|  |  | 0.006 | 0.003 | Antimony | 1074 |  |  |  |  |  |
|  |  | 0.004 | 0.002 | Beryllium | 1075 |  |  |  |  |  |
|  |  | 0.2 | 0.1 | Cyanide | 1024 |  |  |  |  |  |
|  |  | No MCL | 0.05 | Nickel* | 1036 |  |  |  |  |  |
|  |  | 0.002 | 0.001 | Thallium | 1085 |  |  |  |  |  |
|  |  | No MCL | 10 | Sodium* | 1052 |  |  |  |  |  |

Laboratory Information

(((To be completed by laboratory personnel(((

Lab ID Number: _____________________

Specimen Number: __________________

Name: ________________________________________________________________________________

Printed Name and Phone Number of Lab Contact: _____________________________________________

Authorized Signature: ____________________________________________________________________

Date Public Water System Notified: _________________________________________________________

Comments: ____________________________________________________________________________

All units must be reported in milligrams per liter (mg/L)

*Contaminants without an MCL

DWAR-2IN: Revised 8/2009

# Text boxes

# For MCL or Composite Level Sample Exceedance

____________Original Violation Specimen Number

Sample Type

( Confirmation

( Confirmation Composite