DRINKING WATER NOTICE

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

System _____, Well # _______ Tested Positive for Fecal Contamination

DO NOT DRINK THE WATER WITHOUT BOILING IT FIRST

Aviso: No tome el agua sin antes hervirla Este informe contiene información importante acerca de su agua potable. Haga que alguien lo traduzca para usted, o hable con alguien que lo entienda.

Our water system detected fecal indicators (E. coli) in one of our two wells. As our customers, you have a right to know what happened and what we are doing to correct this situation. On [Date], we learned that one of our routine samples collected [Date] was total coliform positive. As required by EPA’s Ground Water Rule, one of our follow-up steps was to collect samples from our wells. The sample from [Well 1] collected on [Date] tested positive for a fecal indicator (E. coli). We are now conducting additional sampling of the well to determine the extent of the problem and are conducting a thorough investigation to determine the source of the contamination.

Inadequately treated or inadequately protected water may contain disease-causing organisms. Fecal indicators are microbes whose presence indicates that the water may be contaminated with human or animal wastes. Microbes in these wastes can cause short-term health effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, the elderly, and people with compromised immune systems. These symptoms are not only caused by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

What should I do?

DO NOT DRINK THE WATER WITHOUT BOILING IT FIRST. Bring all water to a rolling boil for one minute, and let it cool before using. Boiling kills bacteria and other organisms in the water. You may also use bottled water. Use boiled or bottled water for drinking, making ice, preparing food, brushing teeth, and washing dishes until further notice.

Also, if you have a compromised immune system, have an infant, or are elderly, you may be at increased risk and should seek advice about drinking water from your health care providers. General guidelines on ways to lessen the risk of infection by microbes are available from EPA’s Safe Drinking Water Hotline at (800) 426-4791. If you have specific health concerns, consult your doctor. We are also providing regular updates on this situation on Channel… or Radio Station….

What is being done?

In response to this situation, we sent notices to all of our customers within 24 hours of learning of this positive sample. We are conducting a thorough investigation to determine the source of the contamination and will be working with the [Arizona Department of Environmental Quality (ADEQ) or local regulatory agency, Maricopa County or Pima County] to implement corrective actions to ensure our water supply is protected against contamination. We will keep you informed of the steps we are taking to protect your drinking water and will provide information on any steps you should be taking, until this problem is corrected.

When is the system expected to return to compliance?

We anticipate resolving this problem by [Date] by [corrective action].

For more information, please contact [Name] at [Phone number] or [Address].

Please share this information with other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by [Name] Public Water System.

Water System ID#: [ID#]

Date distributed: [Date]