| Permittee: |  | LTF #: |  |
| --- | --- | --- | --- |
| Reviewer: |  | APP #: |  |
| Today's Date |  | AZPDES #: |  |
| Place ID #: |  | Checked By |  |

Checklist instructions

This checklist is provided as a guideline for ADEQ staff in performing technical substantive reviews and to the applicant on what information ADEQ will need to review Pretreatment Program Submission applications. This checklist is designed to be easy to read and follow. It is intended to address the majority of applications submitted to ADEQ, but not every possible variation or situation. This checklist does not supplant or supersede statutory or rule requirements and is not intended to be binding on the applicant or ADEQ staff. ADEQ is actively seeking comments, suggestions, or improvement of this checklist via email to Galileo Gutierrez (grg@azdeq.gov). AN INITIAL FEE OF $2,000 IS REQUIRED AT THE TIME OF THE APPLICATION. THE MAXIMUM FEE IS $10,000. Arizona Administrative Code R18-14-102 & 103. ADEQ will make its determination based only on the information provided in this application and any attachments. Please ensure that the information is correct, all questions are answered, and sufficient detail is provided to form a basis for a decision. ADEQ recommends all elements for a Pretreatment Plan to be submitted at one time for review and approval. Submit Legal Authority and Enforcement Response Plan only after the City Attorney’s office has completed its legal review but prior to City Council approval. ADEQ recommends a pre-meeting to discuss the Sampling and Analysis Plan for Local Limits Study. Return to: Arizona Department of Environmental Quality Water Quality Compliance Section 1110 West Washington Street, 5415B-1 Phoenix, Arizona 85007

| Pretreatment Program Submission |
| --- |
| Y: yes, meets the requirement; N: no, does not meet the requirement (see comment below); NA: does not apply |
| Legal Authority/Sewer Use Ordinance |
|  | Does submission contain a statement from the City Attorney or other City official? |
| comment |  |
|  | Does submission contain a copy of every legal authority source cited in the City Attorney’s statement or necessary for program implementation? |
| comment |  |
|  | Does submission contain endorsements from all local boards/bodies responsible for supervising/funding the pretreatment program? |
| comment |  |
|  | Does the City Attorney’s statement identify the provision of legal authority for each requirement under the Control Authority's (CA) procedures to develop and implement the pretreatment program? |
| comment |  |
|  | Does the City Attorney’s statement identify how the CA intends to ensure compliance? |
| comment |  |
|  | If the CA service area includes more than one agency, jurisdiction, government, or body, does the submission include all ordinances, resolutions, regulations, service agreements, and other legal documents relevant to the analysis of multijurisdictional issues? |
| comment |  |
|  | Does the CA have the authority to deny or approve new or increased contributions of pollutants? |
| comment |  |
|  | Does the CA have the authority to require compliance with applicable pretreatment standards? |
| comment |  |
|  | Does the CA have the authority to issue control mechanisms (e.g., permits, contracts, etc.)? |
| comment |  |
|  | Does the CA have the authority to require development of compliance schedules for installation of technology? |
| comment |  |
|  | Does the CA have the authority to carry out inspection, surveillance, and monitoring procedures (e.g., right of entry, right to sample, right to require installation of monitoring equipment, and right to inspect/copy records)? |
| comment |  |
|  | Does the CA have the authority to obtain remedies for noncompliance (e.g., injunctive relief, civil or criminal penalties sufficient to bring about compliance)? |
| comment |  |
|  | Does the CA have the authority to halt immediately and effectively any actual or threatened discharge? |
| comment |  |
|  | Does the CA have the authority to comply with confidentiality requirements? |
| comment |  |
|  | Does the CA have the authority to form special agreements or waivers? |
| comment |  |
|  | If yes, does the special agreement clause specifically exclude the waiver of Federal categorical pretreatment standards? |
| comment |  |
| Technical Information/Local Limits |
|  | Did the CA use all sufficient sources to assure that all industrial users were identified and located? |
| comment |  |
|  | Did the CA obtain the industrial users’ information through survey or other means? |
| comment |  |
|  | Is the information current? |
| comment |  |
|  | Does the questionnaire require the signature of an authorized company representative? |
| comment |  |
|  | Has the CA correctly characterized the waste discharged from each industrial user? |
| comment |  |
|  | Does the information obtained demonstrate sufficient characterization of the industrial users’ waste discharges? |
| comment |  |
|  | Did the CA adequately document instances of interference/upset, pass-through, and sludge contamination? |
| comment |  |
|  | Has the CA recently sampled and analyzed treatment plant influent/effluent, sludge, and industrial influent? |
| comment |  |
|  | Did the analysis include pollutants of concern identified in the survey? |
| comment |  |
|  | Were appropriate sampling locations chosen in the treatment system, collection system, and at the industries? |
| comment |  |
|  | Was appropriate type of sampling (i.e., composite or grab) performed for each pollutant type? |
| comment |  |
|  | Was the sampling frequency sufficient to give an accurate characterization? |
| comment |  |
|  | Did the CA assess whether or not pollutants are present in the influent in amounts that inhibit treatment processes used by the treatment plant? |
| comment |  |
|  | Did the CA assess whether or not toxic pollutants are present in the treatment plant effluent in amounts that exceed water quality criteria? |
| comment |  |
|  | Are sludge disposal methods acceptable in view of pollutant load? |
| comment |  |
|  | Is the methodology for setting local limits appropriate? |
| comment |  |
|  | Were relevant numbers used for interference/upset concentrations; background concentrations; removal efficiencies; water quality criteria/standards; and land application criteria? |
| comment |  |
|  | Are local limits at least as stringent as national categorical pretreatment standards? |
| comment |  |
|  | Do local limits enable the CA to meet AZPDES permit limits? |
| comment |  |
|  | Will State water quality standards be met once local limits are complied with? |
| comment |  |
|  | Will State sludge disposal guidelines/regulations be met? |
| comment |  |
|  | Were data from industrial users and treatment plants in all jurisdictions considered in developing the local limits? |
| comment |  |
| Enforcement Response Plan (ERP) |
|  | Does the ERP describe how the CA will investigate instances of noncompliance? |
| comment |  |
|  | Does the ERP indicate that inspections and sampling will be used as means to identify noncompliance? |
| comment |  |
|  | Does the ERP indicate that inspections and sampling will be used as means to follow-up on noncompliance? |
| comment |  |
|  | Does the ERP identify personnel responsible for conducting inspections and sampling? |
| comment |  |
|  | Does the ERP specify time frames for entering inspection and sampling data? |
| comment |  |
|  | Does the ERP specify personnel responsible for recommending enforcement action? |
| comment |  |
|  | Does the ERP describe procedures for tracking responses to enforcement actions? |
| comment |  |
|  | Does the ERP include appropriate procedures for determining violations and calculating significant noncompliance (SNC) based on continuous pH monitoring? |
| comment |  |
|  | Does the ERP clearly indicate the enforcement response that will be taken to address SNC, including causing interference, pass-through, late filing of reports, etc.? |
| comment |  |
|  | Does the ERP indicate that the CA will respond to instances of SNC with an enforceable order within 30 days? |
| comment |  |
|  | Does the ERP describe the types of escalating enforcement responses the CA will take in response to all anticipated types of violations? |
| comment |  |
|  | Does the ERP reflect the full range of enforcement responses that are allowed under State law and the CA’s sewer use ordinance? |
| comment |  |
|  | Does the CA’s sewer user ordinance provide adequate legal authority for all enforcement actions the CA proposes to initiate? |
| comment |  |
|  | Does the ERP identify appropriate enforcement actions for magnitude of the violation, duration of the violation, effect on receiving water, and effect on the treatment plant? |
| comment |  |
|  | Does the ERP include associated time frames for all activities including data review, initial and escalated enforcement actions, and follow-up actions? |
| comment |  |
|  | Does the ERP indicate that initial enforcement actions will be taken no more than 30 days after detection of violation? |
| comment |  |
|  | Does the ERP allow for strong enforcement action to be taken immediately in the event of a major violation? |
| comment |  |
|  | Does the ERP indicate that initial follow-up compliance activities (e.g., inspections, sampling) will occur no later than 30 to 45 days after taking initial enforcement action? |
| comment |  |
|  | Does the ERP indicate that if the violation persists, escalating enforcement actions will be taken 60 to 90 days after initial enforcement actions? |
| comment |  |
|  | Does the ERP identify by title the person responsible for each enforcement response? |
| comment |  |
|  | Are the identified persons consistent with those described in the CA’s program implementation procedures and sewer use ordinance? |
| comment |  |
|  | Is the CA’s responsibility to enforce all pretreatment standards and requirements reflected in the ERP? |
| comment |  |
| Compliance Monitoring Program |
|  | Is the CA’s responsibility to implement oversight monitoring of the industrial user’s self-monitoring program reflected in this section? |
| comment |  |
|  | Does the CA’s compliance monitoring program ensure that all sampling is representative over the reporting period and that each sample collected to determine compliance with Federal standards is representative of the sampling day’s discharge? |
| comment |  |
|  | Does the description of the monitoring program include procedures for periodic random sampling of significant industrial dischargers? |
| comment |  |
|  | Is the CA’s compliance monitoring frequency adequate to determine compliance independent of information supplied by industrial users? |
| comment |  |
|  | Does the description of the inspection program include procedures for periodic inspections of significant industrial users? |
| comment |  |
|  | Does the submittal include the CA’s procedures and timeline for conducting a slug discharge evaluation at significant industrial users? |
| comment |  |
|  | Are procedures to investigate instances of noncompliance with pretreatment standards and requirements included in the submittal? |
| comment |  |
|  | Are procedures for quick response sampling and analysis included (demand sampling)? |
| comment |  |
|  | Are chain-of-custody and quality control provisions specified? |
| comment |  |
| Resources/Funding |
|  | Does the CA have adequate sampling equipment or other provisions to conduct necessary sampling? |
| comment |  |
|  | Does the CA have adequate analytical capabilities to perform analyses? |
| comment |  |
|  | Does the CA present an itemized estimate of pretreatment implementation costs? |
| comment |  |
|  | Is there an account of revenue sources that will cover the annual costs of the pretreatment program? |
| comment |  |
|  | Does each jurisdiction participate in funding the pretreatment program? |
| comment |  |
|  | Are the relationships between the staff (personnel) of the participating jurisdictions adequately described and documented? |
| comment |  |
| Public Participation |
|  | Do procedures include at least annual notice of violations published in local newspapers? |
| comment |  |
|  | Is notice and opportunity to respond on the process of developing local industrial effluent limitations provided to both the industrial users and the general public? |
| comment |  |
|  | Are non-confidential program records available to the public? |
| comment |  |
|  | Does the CA identify the steps taken to provide public access to the non-confidential program records? Is the location specified where interested people can go to read or copy documents, permits (if a permit system is used), and monitoring records? |
| comment |  |